DentalAI
Model Creation and Training Workflow

Local laptop training • YOLO object detection • FastAPI backend • React frontend

# 1. Goal and architecture

Build a prototype that accepts front, upper and lower intraoral photos, validates images, predicts possible visible findings, returns bounding boxes, and displays a cautious screening report. This is a screening aid for dentist review, not a diagnostic system.

React + TypeScript: upload and results UI.

FastAPI: validates uploads and calls the model.

YOLO detector: predicts classes, confidence scores and bounding boxes.

SVG/canvas overlay: draws the returned boxes on each original image.

Dataset workflow: permitted images, dentist-reviewed labels, patient-level splits and held-out evaluation.

# 2. Define target classes

| ID | Class | Annotation guidance |
| --- | --- | --- |
| 0 | suspected_caries | Dentist-reviewed visible suspected decay |
| 1 | gum_redness | Visible redness under consistent rules |
| 2 | tooth_discoloration | Visible discoloration under consistent rules |
| 3 | tooth_chip | Visible chipped tooth structure |
| 4 | oral_lesion | Dentist-reviewed visible lesion |

These are example target classes, not a claim that training data exists for each. Train only classes with enough suitable, consistently labelled images.

# 3. Set up the laptop

Open PowerShell in the folder where you want the project:

mkdir DentalAI-Model
cd DentalAI-Model
py -m venv .venv
.\.venv\Scripts\Activate.ps1
python -m pip install --upgrade pip
pip install ultralytics fastapi uvicorn python-multipart pillow opencv-python
python -c "import torch; print('CUDA available:', torch.cuda.is_available())"
yolo checks

If activation is blocked, run Set-ExecutionPolicy -Scope Process -ExecutionPolicy Bypass in that PowerShell session, then activate again. CPU training works but can be slow; Intel integrated graphics does not provide CUDA acceleration.

# 4. Obtain and prepare data

Use datasets whose licences permit your intended training and deployment. Check terms before downloading or redistributing.

Use images with appropriate consent and permissions; de-identify them and restrict access.

Use qualified-dentist-reviewed labels. Do not treat unverified AI predictions as ground truth.

Include reviewed normal/negative examples and difficult examples; mark ambiguous cases as uncertain.

If you can only obtain caries data initially, train caries first and add other categories later.

Split by patient, not image. All views from one patient must stay in the same split.

Dataset paper to review: https://www.nature.com/articles/s41597-025-05647-9

Annotation tools: https://www.cvat.ai/  |  https://labelstud.io/

# 5. Folder structure

DentalAI-Model/
├── dataset/
│   ├── images/{train,val,test}/
│   └── labels/{train,val,test}/
├── data.yaml
├── train.py
├── evaluate.py
├── predict.py
└── api.py

A starting split is 70% train, 15% validation and 15% test, adjusted for dataset size and diversity. Do not split images from the same patient across these sets.

# 6. Annotate images

Use CVAT or Label Studio to draw tight boxes around each visible finding.

Assign class IDs in the same order as data.yaml.

Export YOLO detection labels. Each line is: class_id x_center y_center width height; coordinates are normalized from 0 to 1.

For reviewed images with no findings, use an empty label file. Do not force uncertain areas into a defect class.

Have a dentist review annotations and disagreements.

# 7. Create data.yaml

path: dataset
train: images/train
val: images/val
test: images/test

names:
  0: suspected_caries
  1: gum_redness
  2: tooth_discoloration
  3: tooth_chip
  4: oral_lesion

Remove classes without suitable training examples or do not train those classes yet.

# 8. Train a baseline model

from ultralytics import YOLO
import torch

def main():
    model = YOLO("yolo11n.pt")
    device = 0 if torch.cuda.is_available() else "cpu"
    model.train(
        data="data.yaml",
        epochs=50,
        imgsz=640,
        batch=4,
        device=device,
        workers=2,
        patience=10,
        project="runs/dental",
        name="baseline",
        seed=42,
        plots=True
    )

if __name__ == "__main__":
    main()

Save as train.py. Run: python train.py

This fine-tunes pretrained weights. Settings are an initial baseline, not a validated recipe. Expected checkpoint: runs/dental/baseline/weights/best.pt.

# 9. Evaluate on held-out patients

from ultralytics import YOLO

model = YOLO("runs/dental/baseline/weights/best.pt")
metrics = model.val(data="data.yaml", split="test", imgsz=640, plots=True)

print("mAP50:", metrics.box.map50)
print("mAP50-95:", metrics.box.map)
print("Precision:", metrics.box.mp)
print("Recall:", metrics.box.mr)

Save as evaluate.py. Run: python evaluate.py

Review precision, recall, mAP, confusion matrix and prediction plots.

Check each class separately; overall scores can hide poor performance on rare classes.

Have a dentist review false positives and missed findings on unseen patient images.

Keep the test set untouched while tuning. A small or unrepresentative test set cannot establish clinical reliability.

# 10. Test a single image

from ultralytics import YOLO
from pathlib import Path

model_path = Path("runs/dental/baseline/weights/best.pt")
image_path = Path("sample.jpg")
if not model_path.exists():
    raise FileNotFoundError(model_path)
if not image_path.exists():
    raise FileNotFoundError(image_path)

model = YOLO(str(model_path))
results = model.predict(source=str(image_path), conf=0.25, imgsz=640, save=True)

for result in results:
    for box in result.boxes:
        class_id = int(box.cls.item())
        confidence = float(box.conf.item())
        x1, y1, x2, y2 = box.xyxy[0].tolist()
        print({
            "label": model.names[class_id],
            "confidence": round(confidence, 3),
            "box": [round(x1, 2), round(y1, 2), round(x2, 2), round(y2, 2)]
        })

Save as predict.py, put a test image at sample.jpg and run: python predict.py

A confidence threshold of 0.25 is only a development setting; it must be evaluated and calibrated.

# 11. FastAPI integration

from fastapi import FastAPI, UploadFile, File, HTTPException
from ultralytics import YOLO
from PIL import Image, UnidentifiedImageError
from io import BytesIO
from pathlib import Path
import torch

app = FastAPI(title="DentalAI Screening API")
MODEL_PATH = Path("runs/dental/baseline/weights/best.pt")
MAX_BYTES = 10 * 1024 * 1024
model = None

@app.on_event("startup")
def load_model():
    global model
    if MODEL_PATH.exists():
        model = YOLO(str(MODEL_PATH))

@app.get("/health")
def health():
    return {"status": "ok", "model_loaded": model is not None}

async def analyze_image(upload: UploadFile, view: str):
    if model is None:
        raise HTTPException(503, "Trained model is not available.")
    if upload.content_type not in ("image/jpeg", "image/png", "image/webp"):
        raise HTTPException(415, f"Unsupported image type: {view}")

    raw = await upload.read()
    if not raw or len(raw) > MAX_BYTES:
        raise HTTPException(413, f"Empty image or image exceeds 10 MB: {view}")

    try:
        image = Image.open(BytesIO(raw))
        image.verify()
        image = Image.open(BytesIO(raw)).convert("RGB")
    except (UnidentifiedImageError, OSError, ValueError):
        raise HTTPException(400, f"Invalid image: {view}")

    width, height = image.size
    if width < 100 or height < 100:
        raise HTTPException(400, f"Image resolution too low: {view}")

    device = 0 if torch.cuda.is_available() else "cpu"
    results = model.predict(source=image, imgsz=640, conf=0.25,
                            device=device, verbose=False)
    findings = []
    for result in results:
        if result.boxes is None:
            continue
        for box in result.boxes:
            class_id = int(box.cls.item())
            confidence = float(box.conf.item())
            x1, y1, x2, y2 = box.xyxy[0].tolist()
            findings.append({
                "label": model.names[class_id],
                "confidence": round(confidence, 4),
                "box": [round(x1, 2), round(y1, 2),
                        round(x2, 2), round(y2, 2)]
            })
    return {
        "view": view, "image_width": width, "image_height": height,
        "findings": findings, "review_required": True,
        "message": "Screening only; dentist review is required."
    }

@app.post("/analyze")
async def analyze(front: UploadFile = File(...),
                  upper: UploadFile = File(...),
                  lower: UploadFile = File(...)):
    return {"results": [
        await analyze_image(front, "front"),
        await analyze_image(upper, "upper"),
        await analyze_image(lower, "lower")
    ], "screening_only": True}

Save as api.py. Run: uvicorn api:app --reload. Open http://127.0.0.1:8000/docs and test GET /health. The example performs basic validation but is not production-hardened; add request-size enforcement, authentication, rate limiting, monitoring and secure data handling before real patient use.

# 12. Connect React

async function analyzeDentalImages(
  frontFile: File, upperFile: File, lowerFile: File
) {
  const formData = new FormData();
  formData.append("front", frontFile);
  formData.append("upper", upperFile);
  formData.append("lower", lowerFile);

  const response = await fetch("http://127.0.0.1:8000/analyze", {
    method: "POST",
    body: formData
  });

  if (!response.ok) {
    const error = await response.json();
    throw new Error(error.detail || "Analysis failed");
  }
  return response.json();
}

Call from the Analyze button with the three File objects held in React state. Render each original image and overlay only the returned boxes. Scale the original-image pixel coordinates to the displayed image size. Configure FastAPI CORS to match the actual frontend origin.

# 13. Improve accuracy

Collect representative images across devices, lighting conditions and all intended views.

Have dentists review errors and label new examples; never automatically trust unverified predictions.

Keep patient-level train/validation/test separation.

Compare model versions on the same held-out test set and keep evaluation records.

Add image-quality checks for blur, glare, visibility and incorrect views; request retakes when needed.

Calibrate per-class thresholds and set predefined safety criteria before deployment.

# 14. Privacy and clinical safety

Use images only with appropriate consent and permissions; de-identify them and restrict access.

Define retention and deletion rules; avoid storing patient images unless necessary and secured.

Ordinary intraoral photos cannot rule out hidden cavities, root disease or every dental condition.

Use wording such as 'possible visible finding' or 'no obvious abnormality detected in these photos'; never guarantee the patient is healthy.

Require dentist review. Do not use the prototype alone to diagnose, prescribe or triage.

Check model-framework and dataset licences before commercial use or redistribution.

# 15. Completion checklist

☐ Python environment works

☐ Dataset licence checked

☐ Dentist-reviewed labels completed

☐ Patient-level split created

☐ Baseline trained

☐ Per-class test evaluation reviewed

☐ Single-image predictions checked

☐ FastAPI endpoints tested

☐ React uploads and overlays connected

☐ Privacy and safety checks completed

End of workflow